## Slide 1: GET STARTED in OpenSees with STKO
starting from scratch
20 classes
Welcome to:
Support materials uploaded here within 24h
30
min
??
Image courtesy of ESO

## Slide 2
CONTENTS
GET STARTED
in OpenSees with STKO
28/04/21 – 27/10/2021
Introduction to OpenSees
Introduction to STKO – Scientific Toolkit for OS
Model definition overview
Geometry, Interactions, Selection sets, Local axes
Physical properties
Element properties
Definitions and Conditions
Mesh and Analysis
Analyses Command (part 1-2)
Analyses Command (part 3-4)
Postprocessing and results visualization
Linear elastic analysis
Material and geometrical nonlinearities
Modelling approaches to plasticity
Modal and response spectrum analysis
Nonlinear static and dynamic analysis
Reinforced concrete and masonry frame structures
(+ softening and mesh objectivity, diaphragms modelling, joints modeling, infill panels…)
14
20
Full syllabus available here
THEORY
PRACTICE
INTRO
1
2
3
4
5
6
7
8
9
10
11
12
13

## Slide 3
GET STARTED in OpenSees with STKO
Modelling approaches to plasticity
Plasticity
Lumped (finite length)
15 September 2021
Modelling approaches to plasticity
Distributed
14
14
Lumped (zero length)

## Slide 4
Modelling approaches to plasticity
Page 4
Concentrated
Distributed
1D elements
Plastic
hinge
Zero length
Plastic
hinge
Finite length
Fiber section
Plasticity

## Slide 5
Page 5
Plasticity
Distributed plasticity approach
Distributed plasticity can be modelled though fiber sections. In a fiber model, the section and all of its components are discretizes in finite parts (fibers) and at each fiber you can associate a generic uniaxial constitutive behaviour.
The section response will be the numerical integration of the contribution of each single fiber to obtain stress and moment-curvature coupled with the applied axial force.
Single section parameters are integrated in the gauss points using displacement or force based elements.

## Slide 6
Page 6
Plasticity
Lumped plasticity approach
Plastic hinges usually creates at the extremities of structural elements and eventually close to the beam midspan. In these locations, specific elements can be defined while the rest of the element is kept elastic.
These specific elements are defined with phenomenological constitutive law, representing the inelastic deformation. The plastic hinges can be of two types, either of finite or zero length.
Lpl
linear
L-Lpl
linear
nonlinear
0
L
nonlinear

## Slide 7
Page 7
Plasticity
Lumped plasticity approach (Finite Length)
Plasticity is distributed over a finite length (= plastic length). The fiber cross section considers the coupling between the axial load and the bending response, and the nonlinear response is available at the two ends of the beam.
The elastic section in the beam center needs to be reduced in terms of stiffness (EI not EA), to account for bending stiffness reduction along the column.
In OpenSees and STKO it is possible to use the BeamwithHinges physical and element property (another forceBeamColumn element with a different integration scheme, default HingeRadau) – possibility to specify the plastic length and guide localization in the first integration point.
See “Plastic Hinge Integration Methods for Force-Based Beam–Column Elements” from prof. Scott

## Slide 8
Page 8
Plasticity
Lumped plasticity approach (Zero Length)
Inelastic behaviour is concentrated in a collapsed point without any physical dimension
Phonomenological constitutive model (M-θ) has to be derived to be assigned the rigid inelastic spring modelling the lumped plasticity.
No coupling between the bending response in the two directions and no coupling between the bending response and the axial load.

## Slide 9
Page 9
Plasticity
COMPARISON
Automatic integration of the P-M response
Possibility of introducing P-M-V
Distributed
Lumped
zero-length
finite-length
P-M coupling in the finite length
No P-M coupling
Inelastic behavior along the length of the element
Inelastic behavior in a finite length
Inelastic behavior collapsed in a zero length
Computationally expensive
Computationally more efficient
Possibility to include other phenomenological law different from fiber response
Inelastic behavior defined by the fiber response

## Slide 10
Page 10
Comparison
Example
See support file: ex18.scd
Plastic hinge
Zero-Length
Plastic hinge
Finite-Length
Fiber section
    beam element of a unit length subject from a constant state of deformation in order to get the moment curvature response (using the displacementBeam Column element to have localization over the whole length of the element)

## Slide 11
Page 11
Plasticity
ZeroLength spring phenomenological law
(ie. Modified Ibarra-Medina-Krawinkler Deterioration Model )
Chart: Moment - (Plastic/Total) Curvature
My-Kz - Phenomenological law (trilinearization) | 0 | 316432900 | 372274000 | 346528000 | 346528000
My-Kz (plastic) - Phonomenological | 0 | 316432900 | 372274000 | 346528000 | 346528000
Chart: Moment-Rotation
| 0 | 0 | 6.1944485294117644E-3 | 2.960082867671392E-2 | 3.9577711176713923E-2
My-thetaPl | 0 | 316432900 | 372274000 | 346528000 | 346528000
My-thetaPl(regularized) | 0 | 316432900 | 372274000 | 346528000 | 346528000
Kplastic = My/K0
Θ = Kplastic * Lpl

## Slide 12
uniaxialMaterial Pinching4 $matTag $ePf1 $ePd1 $ePf2 $ePd2
$ePf3 $ePd3 $ePf4 $ePd4
$rDispP $rForceP $uForceP
Page 12
Materials
Pinching4
“pinched” load-deformation response
degradation under cyclic loading
$matTag
strain or deformation
stress or force
ePf3
FOUR POINTS BACKBONE FUNCTIONS
ePf2
ePf1
eNf1
eNf2
eNf3
ePd1
ePd2
ePd3
eNd4
eNd2
eNd1
+ three types of cyclic strength and stiffness degradation:
unloading stiffness degradation
reloading stiffness degradation
strength degradation
ePd4
ePf4
eNd3
eNf4
rDispP/N - ratio of the deformation at which reloading occurs to the maximum/minimum historic deformation demand
fForceP/N - ratio of the force at which reloading begins to force corresponding to the maximum /minimum historic deformation demand
uForceP/N - ratio of strength developed upon unloading from negative load to the maximum/minimum strength developed under monotonic loading
[*,uForceN*eNf3]
[rDisp*dmin,
rForceN*f(dmin)]
[dmin,*f(dmin)]

## Slide 13
Page 13
Comparison
Example
See support file: ex19-20-21.scd

## Slide 14
Page 14
MORE RESOURCES & REFERENCES
R&R
Installation guide
Python documentation
PyMpc Documentation
MPCO Documentation
OpenSees Validation
HDF group
HDF viewer
Michael Scott’s blog index
Geometric nonlinearities in OpenSees
Official webpage
OpenSees Wiki
OpenSees Manual
GitHub documentation
OpenSees Wiki
OpenSees Community
OpenSees Facebook
OpenSees source code
Basic OpenSees Examples
OpenSees support group on youtube
(to get in send an email to pchi893@aucklanduni.ac.nz)
Silvia Mazzoni’s site
Michael Scott blog
STKO purchase page
NAFEMS
STKO Manual
Tutorial videos

## Slide 15: Thank you for your attention!
Following:
Q/A Session
Dive into the forum!
Graphics credits:
Slidecarnival
Freepick